Municipal Questionnaire to Accompany

Water License Applications to the

Mackenzie Valley Land and Water Board

.

Regulating the use of land and waters and the deposit of waste, and enabling residents to participate in the management of resources to provide optimum benefit to the residents of the settlement areas and of the Mackenzie Valley and to all Canadians.

October 2003

The purpose of this questionnaire is to solicit supplemental information from an applicant to support his/her application for a water licence (or renewal). It is anticipated that the completion of this questionnaire will reduce delays arising from the Board having to solicit additional information after an application has already been submitted. This information will also be useful during the pre-screening of your application, which must be undertaken prior to development and approval of a water licence to determine if the project needs to be referred to the Environmental Impact Review Board.

The applicant should complete the questionnaire to the best of his/her ability, recognizing that some questions may not be relevant to the project under consideration. For questions that do not relate to his/her operation, the applicant is requested to indicate “N/A” (Not Applicable).

If any questions arise while completing the questionnaire, the applicant may wish to contact the Mackenzie Valley Land and Water Board at (867) 669-0506.

Table of Contents Page

Section 1 - General........................................................................................................2

Section 2 - Water Supply..............................................................................................4

Section 3 - Water Treatment.........................................................................................7

Section 4 - Sewage Disposal........................................................................................8

Section 5 - Solid Waste Disposal...............................................................................11

Section 6 - Abandonment and Restoration Program...............................................13

Section 7 - Water Quality Monitoring Program.........................................................14

Section 8 - Prescreening............................................................................................15

Section 9 - List of Attachments..................................................................................16

PLEASE PRINT OR TYPE YOUR RESPONSES

NOTE If space is insufficient for any of the responses on this questionnaire, use the back of the sheet or an attachment.

.

### SECTION 1 – GENERAL

Date:

1.1 Applicant

(company, corporation, owner) (telephone no.)  (fax no.)

(postal address)

_______________________________________________________________

(alternate contact) (position)

(postal address)

(telephone no.) (fax no.)

1.2 Community Status   City   Village   Town

Hamlet   Settlement Corporation

1.3 Population (according to most recent census results)

%

estimated growth rate over next 5 years

1.4 Indicate the status of the municipality’s license on the date of application.

New Application

Renewal ® Water License #

1.5 Has any baseline data been collected for the main water bodies in the area?

Yes    No

1.6 If "Yes", please attach all data gathered on the physical, biological and chemical characteristics at each sampling location. Attach a summary of program details indicating sampling locations, description of waste at each location, sampling frequency, and parameters analyzed. Include an outline of Quality Assurance/Quality Control methods being applied to sampling, preservation and analysis within the program.

1.7 Has any baseline data collection and evaluation been undertaken with respect to the various biophysical components of the environment potentially affected by the project (e.g., wildlife, soils, air quality) in addition to water related information requested in this questionnaire?

Yes   No   Unknown

1.8 If "Yes", please attach copies of reports or cite titles, authors and dates.

Prepared by:

Title:

Completion Date:

1.9 If no, are such studies being planned?

Yes   No

1.10 If "Yes", briefly describe the proposals.

1.11 Attach detailed maps which show the relative locations of the:

- • raw water intake,

- • water treatment facilities,

- • fuel & chemical storage,

- • sewage treatment facilities,

- • wastewater treatment area and discharge outlets,

- • solid waste disposal areas and drainage patterns,

- • hazardous waste disposal area,

- • transportation access routes,

- • existing waterbodies/courses and any changes to these water bodies/courses which have or may occur as a result of water use of waste disposal facilities, locations of environmental monitoring sites.

1.12 Attach detailed scale plan drawing(s) of the proposed (or present) sewage treatment system. The drawing(s) must be stamped by an engineer registered in NWT and include the following:

(a) details of pond size and elevation;

(b) precise details of all retaining structures (dimensions, materials of construction, etc.);

(c) details of the drainage basin, and existing and proposed drainage modifications;

(d) details of all decant, siphon mechanisms etc, including sewage treatment facilities;

(e) details regarding direction and route followed by wastewater flow from the area;

(f) indications of the distance to nearby major watercourses, and fish bearing waters;

(g) location and construction of liners;

(h) leachate and groundwater collection systems; and

- (i) control structures.

1.13 Attach detailed scale plan drawings of the proposed (or present) solid waste disposal area. The drawings must include the following:

(a) precise details of all retaining structures (dimensions, materials of construction, etc.);

(b) details of the drainage basin, and existing and proposed drainage modifications;

(c) details regarding direction and route followed by wastewater flow from the area;

(d) indications of the distance to nearby major watercourses, and fish bearing waters;

(e) all sources of seepage presently encountered in the vicinity of these areas;

(f) the volume of each seepage flow (m3/day); and

(g) the direction of each flow.

1.14 Attach the present or proposed contingency plan which will be used for each portion of the waste control system in the event it fails to operate properly.

1.15 Attach the present or proposed spill contingency plan which will be employed in case a spill of hazardous materials occurs. Describe courses of action, mitigative methods and equipment available for use.

NOTE: Individual detailed large scale drawings of all facilities (dam, decant system, ditch, dike, water treatment plant, etc) constructed or proposed must be attached. Specific details with regard to the methods of construction, materials used, etc. are required.

### SECTION 2 -- WATER SUPPLY

- 1. 2.1 Volume of water use

System of Estimated Number Estimated Average Total Water

Distribution Of People on water use use (L/d)

Each System (L/c/d)

Piped

Trucked

Other

Other

= Water Usage _______________(m3/d)

2.2 Type of source

Lake    River   Well   Other

2.3 Name of raw water source and alternative, if any.

Primary Source  Alternative Source

2.4 Usual break-up & freeze-up months.

break-up  freeze-up

2.5 Please provide short descriptions for the following

Operating capacity of the pumps used

Freshwater intake facility.

Operating capacity of the pumps used

Intake screen size

2.6 Type of water storage facility. (check where applicable)

Reservoir   Storage tank   None   Other description

2.7 What is the capacity of the water storage facility?  m3

2.8 What is the rate of withdrawal from the source?  (m3/d)

2.9 Is water drawn from the source?

intermittently   continuously

2.10 If it is drawn intermittently, during what month(s) is it drawn?

2.11 For what time period is it drawn (days/weeks/months)?

2.12 What is the rate of flow of source (if river) or size (if lake)?

2.13 At the intended rate of water usage, describe the effects on the river or lake from which water will be drawn.

2.14 General condition of:

(a) Water supply facility   Satisfactory   Unsatisfactory

If unsatisfactory, explain.

(b) Storage facility   Satisfactory   Unsatisfactory

If unsatisfactory, explain.

(c)  Distribution system   Satisfactory   Unsatisfactory

If unsatisfactory, explain.

2.15 Are there any changes planned in the water supply system?

Yes   No

2.16 If "Yes", please attach a copy of the plan, or describe changes.

### SECTION 3 -- WATER TREATMENT

3.1 Indicate the quality of the raw water prior to treatment & distribution.

- 2.

Good   Fair   Poor

Describe

3.2 Indicate the capacity of the treatment facility.   L/min

3.3 Type of water treatment facility.

Filtration & Chlorination   Chlorination only  ____ None

Other description

3.4 Describe in detail the method of water treatment (i.e. backwash, flocculation, sedimentation, chemicals used), and provide the results of the most recent bacteriological and chemical analysis. Attach a diagram if possible.

3.5 Have there been any problems or health and environmental concerns with the water treatment facilities?

Yes   No

3.6 If "Yes", please describe

3.7 Are there any changes planned in the water treatment facilities?

Yes   No

3.8 If "Yes", please attach a copy of the plan or indicate changes

### SECTION 4 -- SEWAGE DISPOSAL

4.1 Indicate the level of treatment the sewage will be receiving:

primary   secondary    tertiary

4.2 Pre-treatment (if applicable):   screening    maceration

4.3 Lagoons (if applicable):    anaerobic   aerobic   facultative

4.4 Indicate the capacity of the sewage treatment facility.   m3

4.5 Indicate the retention time of the sewage while in the treatment facility.

days

4.6 Indicate the estimated rate of discharge of wastewater.   L/sec

4.7 Indicate the location of the discharge point.

4.8 Will the discharge be:    seasonal   continuous

4.9 If the discharge is seasonal, during what month(s) is it done?

4.10 What is the duration of the discharge (days/weeks/months)?

4.11 Comment on the general condition of the:

(a) Sewage collection system

(b) Discharge control system

(c) Dams, diversion dykes, berms

4.12 Have there been any problems or health and environmental concerns with the sewage disposal facilities?

Yes   No

4.13 If "Yes", please describe

4.14 The average depth of the wastewater lagoon is   m

4.15 What is the design freeboard?  m.

4.16 Is there any harvesting of fish or shellfish in the waters where waste is discharged?

Yes   No

4.17 If yes, please indicate species harvested, and estimate amounts.

4.18 Will the municipality be using a honey bag pit?

Yes   No

4.19 If yes, describe its:

Location

Drainage

Operation & Maintenance

4.20 Are there any sources of commercial or industrial liquid waste being discharged or deposited to the municipal system which may affect the quality of the effluent or leachate produced?

Yes   No

4.21 If "Yes", please describe.

4.22 Have any spills occurred in the past five years?

Yes   No

4.23 If "Yes", please describe.

4.24 Have there been any operating problems with the lagoon?

Yes   No

4.25 If "Yes", describe.

4.26 Are any changes planned in the sewage disposal facilities?

Yes   No

4.27 If "Yes", please describe and if possible, attach a copy of the plan.

### SECTION 5 --SOLID WASTE DISPOSAL

5.1 Indicate the capacity of the disposal area. m3

5.2 The average depth of the solid waste disposal site is  m.

5.3 Are there any sources of commercial or industrial solid waste being deposited in the municipal system which may affect the quality of the effluent or leachate produced?

Yes   No

5.4 If "Yes", please describe.

5.5 Briefly describe how the solid waste will be picked up & delivered to the disposal area.

5.6 Is the solid waste site fenced?

Yes   No

5.7 Will the municipality be using a dead animal pit?

Yes   No

5.8 If "Yes", describe its:

Location

Drainage

Operation & Maintenance

5.9 Will the municipality be using a bulky metal waste disposal area?

Yes   No

5.10 If "Yes", briefly describe its location and operation plan:

5.11 Will the municipality be using a hazardous waste disposal area?

Yes   No

5.12 If "Yes", describe its:

Location:

Structure:

Operation & Maintenance:

5.13 Are there any hazardous commercial wastes entering the solid waste disposal system?

Yes   No

5.14 If "Yes", describe and note amounts and special handling/disposal methods for these wastes.

Source:

Volume (m3/day):

5.15 If any natural watercourse may gain access to the proposed solid waste disposal area, what methods will be used to decrease the amount of runoff water entering these areas? Indicate the volume of water which may enter these areas from the source(s) in question and attach all pertinent details of proposed diversions.

Source:

5.16 Please describe the nature of any diversions of watercourses:

5.17 Have there been any problems or health and environmental concerns with the solid waste disposal facilities?

Yes   No

5.18 If "Yes", please describe.

5.19 Are any changes planned in the solid waste disposal system?

Yes   No

5.20 If "Yes", please describe and, if possible, attach a copy of the plan.

### SECTION 6 -- ABANDONMENT AND RESTORATION PROGRAM

6.1 List and describe the locations of abandoned or restored water treatment facilities.

6.2 List and describe the locations of abandoned or restored sewage treatment facilities.

6.3 List and describe the locations of abandoned or restored solid waste disposal facilities.

6.4 Do you have an abandonment and restoration plan?

Yes   No

6.5 If "Yes", please attach a copy of the plan.

### SECTION 7 -- WATER QUALITY MONITORING PROGRAM

7.1 Briefly describe the methodology that is presently used to sample the raw water supply.

7.2 Briefly describe any monitoring that is done on wastewater effluent and leachate.

7.3 Recognized laboratory performing analysis of samples.

Name:

Contact name:

Postal address:

Telephone number

Facsimile number

7.4 Are any changes planned in the water quality monitoring program?

Yes   No

7.5 If "Yes", describe

### SECTION 8 -- PRESCREENING

8.1 Has this project ever undergone an initial environmental review, including previous owners?

Yes   No

8.2 If "Yes", by whom/when Unknown

8.3 Has approval been obtained or sought from the Department of Fisheries and Oceans for using any fish bearing waterbodies for containment or disposal of waste?

Yes   No

8.4 Are there any environmental studies ongoing or planned ?

Yes   No

8.5 If "Yes", list:

### SECTION 9 -- LIST OF ATTACHMENTS

Reference to Question # Title Number of pages

1.

2.

3.

4.

5.

6.

7.

8.

9.

10.

11.

12.

Prepared by:

Title:

Completion Date: